## Slide 1
University of Washington Kirsten Wind Tunnel Sidewall Balance Software
C.W. Lum, W. Hongjun, K. Ho, R. Slim, H. Stevens
Aircraft Icing and Aerodynamics Research Group, University of Washington
Speed Controller
The speed controller of the fan of wind tunnel. Operated by the staff.
Other Sensors
-Pressure
-Internal Balances
-AUX Data Aquision
AIARG Sidewall Balance Software
Function:
-Perform balance calibration.
-Done Once.
-Equivalent daily Bal Cal check for SWB?
Main(Name?)
-UWAL main data acquisition & control module
-Main balance only.
-Read tunnel q.
-LabView
-Will DeJang(?)
-UW owns the source code
-.EU file creates.
Fan Motors
FAN MOTORS
Main Balance
Online
-(?)
-Apply Bal Cal Constants
SWB Laptop (Nathan)
-Control pitching angle
-”(?)”
-What format is SWB output?
-Creates .EU files.
SWB
Pitch Control Motor
Level Cells
Triangle Box (KWT DAQ box)
Network
.EU Files
RS-232
Static Pressure (?)
-Qi
UWAL Plotting
The Force
-Final DR
-Wall Control
Plot
Can we interface here?
TO-DO
TO-DO:
-Nomenclature
-Picture of SWB DAQ box.
-Will we use the triangle box or our own A/D box?
-Get an example .EU file from SWB and TCAM.
Pitch Control Motor
Level Cells
KWT DAQ BOX
Main Balance

## Slide 3
University of Washington Kirsten Wind Tunnel Sidewall Balance Software
C.W. Lum, W. Hongjun, K. Ho, R. Slim, H. Stevens
Aircraft Icing and Aerodynamics Research Group, University of Washington
UAS
Speed Controller
Drives
Pumps
Fan Pitch
ADS-B In Receiver
Sagetech Clarity
Hosts a WiFi hotspot.
Decodes transponder outputs and translates to Clarity packets (clear text).
Broadcasts UDP data over port 4000 (IP address is unclear)
UW TRAnsponder-based Position Information System (TRAPIS)
TRAPIS 1.0
See \\JCATI2015\TechnicalDataPackage\ProjectVision\GPSDeniedProjectVision.pptx for additional information.
ANPC LAMS Simulator
Emulate LAMS functionality and outputs.
U.S.1725
ANPC Local Area Multilateration System
Interrogates transponder (on 1030 MHz) and receives response (on 1090 MHz)
U.S.726, 727
U.S.668
Ground Control Station
Legend
= See specified user
story for more information
U.S.XYZ
U.S.668
ADS-B Out Transponder
Sagetech XPS-TR
Reverts to Mode S transponder if GPS is lost.
U.S.1728, 1729
Responsible for rerouting position estimates from TRAPIS and uploading it to the UAS via the data telemetry link.
UW Customized Mission Planner
Data Telemetry Radio
Maintain data telemetry link to UAS.
Modify to carry position estimates on the data telemetry link.
Clarity packet
(port 4000)
CAT48 packet & CAT34 packet
(port 20550)
Decodes transponder outputs and translates to CAT48 messages.
Broadcasts UDP data over port 20550 (destination IP address is configurable)
TRAPISSimulator
Emulate/output LAMS and Clarity packets.
Developed by UWAFSL.
Generates scenarios for lab testing.
U.S.1726
Mission Planner Interface
DataOutputController sends TRAPIS position estimates to Mission Planner using UDP (nominally using port 4005).
U.S.1724
TRAPIS Payload
UW Customized GPS-Denied Flight Modes
UAV Pixhawk
U.S.1731
Data Telemetry Radio
Receive TRAPIS position estimates from GCS.
U.S.1739
Discards UAV GPS signals and only uses TRAPIS position estimates for navigation.
Arduino Mega 2560
Running AFSL software to intercept GPS measurements.
Can pass, degrade, or deny GPS signals.
Controlled by GCS.
U.S.1049
Turnigy TGY-iA10 Receiver
Receive commands from payload operator on ground.
U.S.1741
TRAPIS Payload Pixhawk
Solely used to feed GPS information to TRAPIS payload.
Position Estimate Selection Control
Select position information to output from TRAPIS.
Raw ADS-B can be used as a surrogate for LAMS during testing.
LAMS used for flight demo.
Filtered versions of signals can also be used.
U.S.1752, 1753
TRAPIS Position Estimate via UDP connection
Payload Operator
Monitor ADS-B output via EFB.
Control TRAPIS payload via Turnigy TGY-i10.
GPS info
Mux position estimates
Turnigy TGY-iA10 Receiver
Receive commands from remote PIC.
Select mode.
Flight Mode Selection
Remote PIC
Chose flight mode via Turnigy TGY-i10.
Flight Mode Selection
Stock ArduPlane Flight Modes
Future work will entail replacing ArduPlane GPS information so all flight modes operate using TRAPIS provided position estimates.
Running UW customized ArduPlane 3.8.0
TRAPIS Payload Mode Selection
UAV GPS signal
TRAPIS position estimate
Flight mode simply actuates a servos based on LLA.
U.S. 1730
Perform rudimentary waypoint navigation.
Use rudder to point aircraft in direction of next waypoint.
U.S. TBD
WSMP (Washington Simple)
WSTR (Washington Steer)
Perform advanced waypoint navigation.
U.S. TBD
WADV (Washington Advanced)
WGPS MAVLink Message
Human Operator
Drives
Pumps
Fan Pitch